## Slide 1: MTP-5 data analyze
Anna Gnevasheva
Elena Khavina
Svetlana Lisova
Maria Parfenova
Ekaterina Perminova
NABOS-2013

## Slide 2: What is MTP-5?
Meteorological Temperature Profiler (MTP-5)

## Slide 3: Technical specifications
We use MTP-5H model.
Heights Range | 0-600 m
Displayed height interval | 50 m
Accuracy (C) 0 - 50 meters | 0,5
Accuracy (C) 50 - 600 meters | 0,5 ÷ 1,0
Weight | 25 kg
Temperature range | -40°C ÷ +50°C

## Slide 4: How it works

## Slide 5: How it works
Every 5 minutes the program starts measuring the temperature profile. It sends commands to controller and scanner goes through series of angles from 0° ÷ 90°, i = 1 ÷ n, n = 11.

## Slide 6: How it works
The program is measuring the signal from the radiometer (receiver) in Volts (Ui[V]) when scanner is stopped at each angle. The array of Ui(q) is calculated to the array of brightness temperature Tb(q) with equation: Tb(θ) = Ui[V]* A[K/V] +B[K], where A and B are calibrations coefficients.

## Slide 7: How it works
in discrete form is where δ is an unknown error component, that will effect the solution to some degree. And K is a kernel.
After the program gets the Tb (θ), it becomes possible to calculate the temperature T(h)[K].
The equation of T(b) is:

## Slide 8: How it works
“As the working frequencies chosen in the center of molecular oxygen absorption band, where the attenuation is very high, fog, changes in water vapor density, clouds and weak rain do not influence the measurements. So we have a good T(b).”
MTP-5 official presentation

## Slide 9: Is MTP-5 good in cloud weather?
Nowadays we have not enough MTP-5 data to check if it works correctly in high humidity and cloudiness conditions.
To check the quality of MTP-5 data we compared it to Kensuke’s Sond data.

## Slide 10: What is radioSONDe?
temperature sensor
relative humidity sensor
pressure sensor
wind speed & direction sensor
Radiosondes are used to measure the meteorological parameters profiles.

## Slide 11: MTP-5 vs SOND temperature profiles
08.09.13 12:00

## Slide 12: MTP-5 vs SOND temperature profiles
30.08.13 17:30

## Slide 13: Correlation between the MTP-5 and sond at 22 m height

## Slide 14: Correlation between the MTP-5 and sond at 72 m height

## Slide 15: Correlation between the MTP-5 and sond at 122 m height

## Slide 16: Correlation between the MTP-5 and sond at 172 m height

## Slide 17: Correlation between the MTP-5 and sond at 222 m height

## Slide 18: Correlation between the MTP-5 and sond at 272 m height

## Slide 19: Correlation between the MTP-5 and sond at 322 m height

## Slide 20: Correlation between the MTP-5 and sond at 372 m height

## Slide 21: Correlation between the MTP-5 and sond at 422 m height

## Slide 22: Correlation between the MTP-5 and sond at 472 m height

## Slide 23: Correlation between the MTP-5 and sond at 522 m height

## Slide 24: Correlation between the MTP-5 and sond at 572 m height

## Slide 25: Correlation between the MTP-5 and sond at 622 m height

## Slide 26: Correlation coefficients
Height (m) | Correlation coefficient R2
22 | 0,84
72 | 0,88
122 | 0,81
172 | 0,84
222 | 0,84
272 | 0,83
322 | 0,75
372 | 0,67
422 | 0,62
472 | 0,69
522 | 0,84
572 | 0,91
622 | 0,88

## Slide 27: Cold front

## Slide 28
21.08.2013 (Cold front) |  |  |  |  | 
Time | Inversion type | Low Border (m) | High border (m) | Average t (ͦ C) | tmax (ͦ C)
12:15-13:15 | radiational | 0 | 200 | 0.25 | 2.5
15:15-18:00 | radiational | 0 | 100 | 0.5 | 0.75
18:45-24:00 | advective | 50 | 350 | 0.4 | 0.5
Type or stratification– stable |  |  |  |  | 
Mixing layer height =60 m |  |  |  |  | 
Front – cold |  |  |  |  | 

## Slide 29: Ice edge crossing (sea ice to open water)

## Slide 30
04.09.2013 (Warm front) |  |  |  |  | 
Time | Invertion type | Low border (m) | High Border (m) | Average t (ͦ C) | tmax (ͦ C)
00:00-12:00 | advective | 100 | 600 | 0.3 | 1
14:50-16:35 | advective | 50 | 600 | 0.4 | 0.7
19:25-24:00 | neutral(>rad) | 200 | 0/50 | 0.3 | 0.5
Type of stratification – neutral |  |  |  |  | 
Mixing layer height =110 m |  |  |  |  | 
Front – warm outbreak |  |  |  |  | 

## Slide 31: Ice edge crossing (open water to sea ice)

## Slide 32
10.09.2013 (Cross ice edge ) |  |  |  |  | 
Time | Invertson type | Low border (m) | High border (m) | Average t (ͦ C) | tmax (ͦ C)
06:00-11:40 | advective | 300 | 600 | 0.18 | 0.4
16:30-24:00 | advective | 200 | 600 | 0.6 | 1.6
Type of stratification – unstable |  |  |  |  | 
Boundary layer Height =80 m |  |  |  |  | 
Front – ice edge crossing (from open water to sea ice) |  |  |  |  | 

## Slide 33: Total and low cloud fraction variation during NABOS-2013 expedition
Chart: Date
| 26.08 | 27.08 | 28.08 | 29.08 | 30.08 | 31.08 | 1.09 | 2.09 | 3.09 | 4.09 | 5.09 | 6.09 | 7.09 | 8.09 | 9.09 | 10.09 | 11.09 | 12.09 | 13.09 | 14.09 | 15.09 | 16.09 | 17.09
Total cloud fraction | 10 | 10 | 10 | 10 | 10 | 10 | 8.7826 | 8.125 | 10 | 10 | 9.875 | 9.0417 | 9.375 | 9.5 | 10 | 10 | 9.7917 | 10 | 5.9167 | 4.375 | 9.875 | 10 | 10
Low cloud fraction | 10 | 9.4 | 10 | 10 | 10 | 9.75 | 7.1304 | 4.2917 | 10 | 9.9583 | 8.3333 | 8.25 | 8.9167 | 8.2917 | 9.3333 | 10 | 8.4583 | 10 | 3.7083 | 4.0833 | 9.2917 | 8.9167 | 10

## Slide 34: Clouds
Stratus nebulosus
Stratocumulus vesperalis
Altostratus undulatus
translucidus
Cirrocumulus cumuliformis
Cirrus intortus
Altocumulus inhomogenus

## Slide 35: Distribution of total and low cloud fraction (Fig.1) and cloud types (Fig.2)
Chart: Cloud types
| St | Sc | Cb | Ac | As | Ci | Сс
 | 53.8244 | 24.0793 | 0.84986 | 9.6317 | 2.9745 | 7.7904 | 0.84986
Chart: Cloud fraction
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0
Total, % | 2.3438 | 1.5625 | 0.97656 | 0.97656 | 0.19531 | 0.78125 | 0.58594 | 0.97656 | 2.3438 | 4.4922 | 84.7656
Low, % | 5.8708 | 1.1742 | 2.544 | 2.3483 | 1.5656 | 1.7613 | 1.3699 | 2.544 | 2.1526 | 6.6536 | 72.0157

## Slide 36: Distribution of low and total cloud fraction and cloud types in the dependence on ICE/WATER as the underlying surface.
Chart: Cloud fraction
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0
Total, % | 0.45045 | 1.3514 | 0 | 0 | 0.45045 | 0.45045 | 0.45045 | 0.9009 | 0.9009 | 0 | 95.045
Low, % | 1.8018 | 1.3514 | 3.1532 | 1.8018 | 1.3514 | 2.2523 | 0.9009 | 0.45045 | 0.45045 | 3.1532 | 83.3333
Chart: Cloud fraction
| 0.0 | 1.0 | 2.0 | 3.0 | 4.0 | 5.0 | 6.0 | 7.0 | 8.0 | 9.0 | 10.0
Total, % | 3.9007 | 1.773 | 0 | 0 | 3.9007 | 0 | 0.70922 | 1.0638 | 3.5461 | 8.156 | 77.305
Low, % | 9.1873 | 1.0601 | 2.1201 | 2.8269 | 1.7668 | 1.4134 | 1.7668 | 4.2403 | 3.5336 | 9.5406 | 62.5442
Chart: Cloud types
| St | Sc | Cb | As | Ac | Ci | Сс
% | 68.942 | 11.9454 | 0.68259 | 4.0956 | 6.4846 | 7.1672 | 0.68259
Chart: Cloud types
| St | Sc | Cb | As | Ac | Ci | Сс
% | 41.0658 | 31.9749 | 1.2539 | 1.5674 | 14.1066 | 8.7774 | 1.2539
ICE
WATER

## Slide 37: Conclusions
MTP-5 accuracy is not good for the stratus cloudy areas now (e.g. Arctic Ocean) as the algorithm of raw data processing doesn’t consider humidity conditions.
In spite of this MTP-5 data is quite good for inversion detection and general atmospheric monitoring.
During our expedition the southeast wind was prevailing for a long time that caused the advection of warm air. Due to cold underlying surface we also had strong inversions that determined the presence of very low clouds covering the whole sky.

## Slide 38: Thank you!
We hope it was interesting for you.^^